## Sheet1
Revision date: 6/20/2018
Sample
Irrigation valves demand run time spreadsheet
Daily July Water Scheduling
POC ID | Valve No. | GPM | Irrigated Area (SF) | Spray or Rotor Run time (Minute) | Drip or Bubbler Run time (Minute) | Plant Factor | System Type: Application Method (Spray or Rotor) | System Type: Application Method (Drip or Bubbler)
Total
Total Run Times:_________________
Design is Based on _________ Valves operation simultaneously and Max GPM Demand ______________
Watering Window = |  | Run Times (hrs)/ #valves operation simultaneously
* Contractor shall program controller to operate per designed # of valves operated at the same time
* Watering window shall be restricted to 9pm to 6am (except for the valves design drip and bubbler)
Irrigation system demand shall not exceed the irrigation meters max continuous flow rating