## STUDY AREA SUMMARY TABLE
SOME CELLS CONTAIN FORMULA'S THAT SHALL NOT BE ALTERED.
STUDY AREA SUMMARY TABLE
| Project Study Area | Property Parcel | Color Designation | Land Use Type (Zone) | Maintenance Entity | Gross Site Area (Acre) | % Site Irrigated | Land Use Functionality | Irrigated Area (Acre) | Maximum Peak Demand Allowed (GPM) | Maximum Annual Water Use Demand (Acre Ft/Year) | Safe Meter Capacity | For Facility Design Use This Maximum GPM Demand
[9 empty] | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0
| TOTALS |  |  |  |  | 0 |  |  | 0 | 0 | 0 |  | 0
THESE CELLS CONTAIN FORMULA'S THAT SHALL NOT BE ALTERED.
Functional Turf is defined as a turf area that serves as a surface for such purposes as playing a sport or gathering for group activities.
Ex. School and Park are designated as functional Turf
Table Definition per Column
B) | Project Study Area = The study area designation used on the RWUP drawing (Ensure that numbers are used for recycled water POCs and letters for potable water POCs)
C) | Property Parcel = Parcel Number
D) | Color Designation = Indicate the color used on the RWUP
E) | Land Use Type = For example park, streetscape, etc. (Used to determine the functionality of irrigation)
F) | Maintenance Entity = Maintenance Entity that will ultimately maintain the recycled water use area ( LLMD, HOA, Valley Wide etc.)
G) | Gross Site Area = Total study area size (acre)
H) | % Site Irrigated = Estimated percentage of area that will be irrigated
I) | Land Use Functionality = Functional, Non-Functional, or Not Determined
J) | Irrigated Area (Acre) = The total estimated area that will be irrigated
K) | Maximum Irrigation Peak Demand (GPM) = See CAD Toolbox for the explanation of calculation
L) | Maximum Irrigation Annual Water Use (Acre FT/Year) = See CAD Guideline for the explanation of calculation
M) | Safe Meter Capacity = The size of the meter that should be installed to meet demand
N) | For Facility Design Use This Maximum GPM Demand = Maximum GPM x 1.5

## Sheet1
Irrigaton Type
Functional
Non-Functional
Not-Determined